## AV-new
AIR VELOCITY REPORT
CUSTOMER NAME |  |  | Pin Point Engineers
ADDRESS |  |  | Dehradun
NATURE OF TEST |  |  | AIR VELOCITY
TEST TAKEN ON |  |  | 13/05/2023
AHU NO. |  |  | X
LOCATION |  |  | D
REPORT NO. |  |  | PPE003AV130520232
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  |  | VALIDITY
Anemometer |  | AVM-04 |  |  |  | S12K240201 |  |  |  | 25/03/2023
OBSERVATIONS:
Room Name & ID No. | Inlet No. |  | V1 | V2 | V3 | V4 | V5 | Avg. Vel. | Inlet Size Ft2 | CFM | Room Volume (Ft3) | ACPH
X | F |  | 100 | 100 | 100 | 100 | 100 | 100 | 4 | 400 | 1000 | 72
| F |  | 50 | 50 | 50 | 50 | 50 | 50 | 4 | 200
| F |  | 150 | 150 | 150 | 150 | 150 | 150 | 4 | 600
TOTAL CFM | [9 empty] | 1200
Acceptance criteria :Not less Than 60 ACPH | [6 empty] | GRADE : B
REPORT PREPARED BY |  |  |  |  | VERIFIED BY
PIN POINT ENGINEERS |  |  |  |  | Pin Point Engineers
Report Prepared by Ajeet Shukla