## AV-new
AIR VELOCITY REPORT
CUSTOMER NAME |  |  | Pin Point Engineers
ADDRESS |  |  | Dehradun
NATURE OF TEST |  |  | AIR VELOCITY
TEST TAKEN ON |  |  | 13/05/2023
EQUIPMENT ID |  |  | q
LOCATION |  |  | TEMP DEPARTMENT
REPORT NO. |  |  | PPE003AV130520231
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  | VALIDITY
Anemometer |  | HT-9819 |  |  |  | 202003305488 |  |  | 28/09/2023
OBSERVATIONS:
Equipment Name | Inlet No. | V1 |  | V2 |  | V3 |  | V4 | V5 | AVERAGE VELOCITY (FPM)
q | d | 60 |  | 80 |  | 70 |  | 60 | 50 | 64
| e | 80 |  | 90 |  | 70 |  | 80 | 90 | 82
| e | 110 |  | 105 |  | 105 |  | 104 | 106 | 106
| w | 80 |  | 90 |  | 70 |  | 50 | 60 | 70
Acceptance criteria :Not less Than ACPH | [6 empty] | GRADE : A
REPORT PREPARED BY |  |  |  |  | VERIFIED BY
PIN POINT ENGINEERS |  |  |  |  | Pin Point Engineers
Report Prepared by Ajeet Shukla